## Slide 2: SESSION 11 & 13 FACILITIES OPERATION, MAINTENANCE & REPAIR OVERVIEW

## Slide 3
Todd E. Reber
Program Manager
BIE Division of Facilities and Safety Management -
Branch of Facilities Management

## Slide 4: DOI SECRETARIAL ORDER 3334
The purpose of this Order is to begin the process of implementing reforms and restructuring the BIE into an innovative organization that will improve operations for both tribally-controlled and BIE-operated schools.
Sally Jewell, Secretary of the Interior
June 12, 2014

## Slide 5: MEET OUR TEAM…
Todd Reber
BIE Branch of Facilities Management
Program Manager – Albuquerque
todd.reber@bie.edu
Renee Allen
Facility Operations Specialist – Albuquerque
renee.allen@bie.edu
Marvin Charley
Facility Operations Specialist – Phoenix
marvin.charley@bie.edu
Paul Tohtsonie
General Engineer – Phoenix
paul.tohtsonie@bia.gov
Dave Wohlers
General Engineer – Bloomington
david.wohlers@bie.edu

## Slide 6: OBJECTIVES
Provide high-level overview of Facilities Operation, Maintenance, and Repair.
Emphasize the importance of using IA-FMS Maximo and related work order processes for budget tracking/planning purposes.
  If needs are not documented in Maximo, additional funding requirements cannot not be identified for the school.
Notes: DFMC website...MI&R presentation... https://www.bia.gov/sites/bia_prod.opengov.ibmcloud.com/files/assets/as-ia/ofpsm/MIR-Emergency%20Program%20Presentation%20170928%20Final.pdf

## Slide 7: APPLICABILITY
Facilities Management Programs are for use by Indian Affairs, P.L. 100-297 Grant, and P.L. 93-638 operations. If the facility is in the IA-FMS inventory, it is eligible for funding.

## Slide 8: PRESENTATION TOPICS
Operations and Maintenance
Emergencies
Minor Improvement & Repair
Facilities Improvement & Repair
Replacement School Construction Program
Common Maximo Issues
Notes: DFMC website...MI&R presentation... https://www.bia.gov/sites/bia_prod.opengov.ibmcloud.com/files/assets/as-ia/ofpsm/MIR-Emergency%20Program%20Presentation%20170928%20Final.pdf

## Slide 9: OPERATIONS AND MAINTENANCE (O&M)
Day-to-day activities required to maintain Bureau-owned facilities
  Buildings
  Grounds
  Equipment
  Systems
Primary Goal: Ensure all facilities are maintained to provide a safe and healthy environment for the occupants and for the protection of property.

## Slide 10: O&M CONTINUED
O&M is divided into three categories:
  Operations
  Preventive (Scheduled) Maintenance
  Unscheduled Maintenance

## Slide 11: OPERATIONS
Personnel, Equipment, and Supplies
  Fire protection – Fire truck, training, SCBAs (might also be under DFMC program)
Services
  Janitorial services, utility system expenses, refuse disposal, fire protection, vehicle maintenance, communications, and pest control
Utility Expenses
  Electrical power; fuels such as natural gas, propane, and heating oil; potable water; sewer; and refuse collection.
Compliance with codes and regulations
  Personal protective clothing for personnel
  Safety and environmental requirements

## Slide 12: MAINTENANCE
Preventative, routine, and unscheduled work for all buildings, repairs and replacements, site structures, grounds, equipment, and utility systems.
  Site structures include water towers, parking lots, landscaping, playgrounds, etc.
  Grounds includes trees, ball fields, tracks, etc.
  Equipment includes heating, ventilation and air conditioning (HVAC), fire alarm panels, emergency lights and sirens, etc.
  Utility systems include potable water systems, sewer treatment and collection systems, fire hydrants, gas distribution, etc.
Notes:   Site structures include telecommunication radio repeater towers, water towers, underground and above ground fuel storage tanks, parking lots, landscaping, sidewalks, fencing, and playgrounds.
  Grounds includes trees, ball fields, and tracks.
  Equipment includes heating, ventilation and air conditioning (HVAC), boilers, furnaces, fire alarm panels, sprinkler controls, security lights/camera and emergency lights and sirens and master control systems that may be connected to Central Processing Units.
  Utility systems include potable water treatment and distribution systems, sewer treatment and collection systems, storm drainage, fire hydrants, gas distribution, street lighting, and Supervisory Control and Data Acquisition (SCADA) systems.

## Slide 13: PREVENTATIVE MAINTENANCE (SCHEDULED)
Routine activities/services required to maintain facilities in good working condition.
Funded by annual O&M budget.
How is preventative maintenance accomplished?
  Conducting routine inspections
    Assure proper operation and condition
    Identify more extensive replacement or repair needs
    Example: Annual roof inspection
  Following standard practices and manufacturer maintenance procedures to address deficiencies such as replacing light bulbs, fixing gutters, filter changes, etc.
  Audience Question: What other preventive maintenance activities are conducted at schools?
Notes: Follow standard practices and manufacturer’s maintenance procedures for particular systems and equipment and include regular inspections that identify deficiencies and replacement of equipment parts or building components that prolong the life of the asset such as filter changes, lubrication, roof repairs, and caulking. Ask audience….name other preventive maintenance activities.

## Slide 14: UNSCHEDULED MAINTENANCE
Correction of unforeseen problems or deficiencies.
  Broken sign, automatic gate not operating, door not closing properly, etc.
Work order (WO) costs less than $2,500.
Addressed at local school level.
  Assess.
    Does it impact operations?
    Timeline to fix?
  Prioritize.
  Enter in Maximo.
    Track WO through to funding.
If $2,500 or above, enter in Maximo to request supplemental funding
  School Facility Manager – Coordinate with respective BIA or BIE Facility Management oversight
Notes: For schools under Regions that have not transferred, coordinate with BIA Facility Management.
Explain what is meant by supplemental funding – emergency funding, MI&R, FI&R, etc.

## Slide 15: EMERGENCY
Condition where death, physical harm, or property damage can be foreseen and possibly eliminated
  Roof caving in, destroyed by storm; heating system failed posing threat to a building; etc.
  Facility conditions must not be the result of lack of preventative maintenance
Notes: Clarify line of authority during presentation. For schools under Regions that have not transferred, coordinate with BIA Facility Management. Safety Office must be informed, as well, (CDSO must notify Central Safety Office). Emergency Action Plans must be established, maintained, and followed.
Implement interim actions to remove immediate threat if cannot be corrected immediately. Example: Shut off gas, water, etc. as applicable to the emergency. School administration must be trained on location of shut-off valves, etc.

## Slide 16: EMERGENCY CONTINUED
What do you do?
  Implement interim actions, if appropriate.
  Notify Line of Authority from school level up to respective BIA or BIE Facility Management oversight staff as soon as possible but no later than 24 hours after discovery
    Request verbal approval to expend funds
  Utilize school funds to correct as soon as possible
    If cost exceeds available O&M budget, school Facility Managers to work with respective BIA or BIE Facility Management oversight staff to access emergency funds
  Seek reimbursement (at the discretion of the school)
Notes: Clarify line of authority during presentation. For schools under Regions that have not transferred, coordinate with BIA Facility Management. Safety Office must be informed, as well, (CDSO must notify Central Safety Office). Emergency Action Plans must be established, maintained, and followed.
Implement interim actions to remove immediate threat if cannot be corrected immediately. Example: Shut off gas, water, etc. as applicable to the emergency. School administration must be trained on location of shut-off valves, etc.

## Slide 17: EMERGENCY REIMBURSEMENT PROGRAM
INDIAN AFFAIRS FACILITY PROGRAM POLICY
Provide funds from any source to resolve emergency situations.
Based on supporting documentation, DFMC may provide reimbursement for costs associated with mitigating the emergency.
Funding Thresholds:
  Minimum $2,500 per work order item.
  Maximum $100,000 per work order item.
Purpose: Provides reimbursement for costs necessary to correct immediate threats to life or property at BIE education facilities.
Still requires a DM WO entry and authorization, but with compressed decision and funding timeline.
Notes: Funding from DFMC is pending availability, not guaranteed.
Bureau of Indian Affairs Office of Facilities Management and Construction Emergency Reimbursement Program Policies and Procedures .. https://www.bia.gov/sites/bia.gov/files/assets/as-ia/pdf/idc-040905.pdf

## Slide 18: EMERGENCY REIMBURSEMENT PROGRAM CONTINUED
PROGRAM PROCEDURES
Schools must notify Line of Authority from school level up to respective BIA or BIE Facility Management oversight staff within 24 hours before notifying DFMC.
Correct emergency immediately utilizing funds available.

## Slide 19: EMERGENCY REIMBURSEMENT PROGRAM CONTINUED
PROGRAM PROCEDURES Continued
The BIE or School must establish the emergency as a Deferred Maintenance Work Order in IA-FMS Maximo.
The school submits supporting documentation within 90 days of emergency
  Memo with EMERGENCY REQUEST/REIMBURSTMENT CHECKLIST, cost estimate/invoices, SOW, justification, available funding, PR information, DM WO #) to respective BIA or BIE Facility Management oversight staff.
The respective BIA or BIE Facility Management oversight staff submit emergency request with supporting documentation to DFMC.
DFMC reviews documents and provides funding reimbursement.
Notes: In Maximo, under Subtype field – Check “Emergency.”

## Slide 20: EMERGENCY REIMBURSEMENT PROGRAM CONTINUED
PROGRAM PROCEDURES Continued
Advance funding
  Under special circumstances on a case-by-case basis, advance emergency funding may be granted.
  The Region, Agency and/or location must identify that no available funds exist to correct the emergency.
    This condition normally exists at the end of the fiscal year or when the amount of cost approaches the funding threshold of $100,000.

## Slide 21: MINOR IMPROVEMENT & REPAIR (MI&R) PROGRAM
Purpose: Identify and correct serious life/safety and high ranked deficiencies identified in IA-FMS as Deferred Maintenance (DM) to assist in providing safe and functional Indian Affairs facilities.
DM Work Orders
  Exceed IA (O&M) Work Order threshold of $2,500 or less
Prioritized at the local school level
Funding thresholds:
  Minimum $2,500 per work order item
  Maximum $250,000 per work order item
Notes: MI&R funds are for the abatement of the identified critical deficiencies which cannot be delayed for inclusion in an FI&R project and urgency requires that action be taken as soon as possible.
Under limited circumstances, DFMC may choose to fund critical life safety deficiencies that exceed the threshold on a case-by-case basis based on urgent need.

## Slide 22: MINOR IMPROVEMENT & REPAIR (MI&R) PROGRAM
Note: Grant Schools utilizing MI&R for projects over $100,000 must have the Education Program Administrator (EPA) determine the capabilities of the Grantee and the need for a P.L. 100-297 application.
Notes: MI&R funds are for the abatement of the identified critical deficiencies which cannot be delayed for inclusion in an FI&R project and urgency requires that action be taken as soon as possible.
Under limited circumstances, DFMC may choose to fund critical life safety deficiencies that exceed the threshold on a case-by-case basis based on urgent need.

## Slide 23: MI&R PROGRAM CONTINUED
WORK ORDER PRIORITIZATION
Work Orders are prioritized according to the IA Supplemental Attachment G Project Scoring Methodology 5-Year Capital Improvement Planning as follows:
Facility Condition Index (FCI) Represents the condition of the building (DM Repair Needs compared to Current Replacement Value).
Asset Priority Index (API) Represents importance of an asset in supporting the overall mission.
Notes: IA Supplemental Attachment G Project Scoring Methodology 5-Year Capital Improvement Planning, https://www.bia.gov/sites/bia_prod.opengov.ibmcloud.com/files/assets/as-ia/ofpsm/IA%20Sup%20Att%20G%20Project%20Scoring%20Methodology_v2%20161108.pdf
Purpose: The Department of Interior (DOI) annually published budget guidance and instruction using “Attachment G” issued by the DOI Budget Office to be used by the Bureau’s to develop Five-Year Deferred Maintenance and Capital Improvement Plans. As stated, the criteria are designed to allow the bureaus to further define the distribution of points based on bureau missions and provided through bureau-specific guidance. This supplement is intended to provide the specific guidance and scoring methodology for Indian Affairs construction projects under the oversight of the Office of Facilities, Property, and Safety Management (OFPSM); specifically, Education Construction, Public Safety & Justice Construction, and Other Construction. The Indian Affairs-Facilities Management System (IA-FMS) is a Maximo based management information system used to enter, track, support, and report on data used to manage the facilities program. In addition to the central Maximo database, IA-FMS utilizes several additional applications (“Apps”) that help to manage people, funding, safety reports and abatement plans, calculate API, and other functions. In the summer of 2015 DFMC transitioned to IA-FMS from its predecessor. Some business processes are still being developed and new ones are being defined regularly as OFPSM continues to mature its asset management program.
Maximo Training Material: DM Work Orders Training Manual April 2021 Version 7.6 Appendix I: Category/Rank Combination Descriptions and Examples – describes categories and ranks.

## Slide 24: MI&R PROGRAM CONTINUED
WORK ORDER PRIORITIZATION Continued
Category/Rank
  U = Emergency repair on a case-by case basis
  S&H/1&2 = Safety and Heath / Rank 1 and 2
  M/1&2 = Physical Plant / Rank 1 and 2
  Then any remaining DM WO less than $250,000
Risk Assessment Code (RAC) Represents the risk of possible injury or additional property damage may occur if the problem isn't addressed.
  Assigned by safety specialists conducting safety and health inspections.
  Valid RAC 1, 2, 3 issues are required to be addressed immediately.
Notes: Explain the category and rank examples provided here on the slides.
IA Supplemental Attachment G Project Scoring Methodology 5-Year Capital Improvement Planning, https://www.bia.gov/sites/bia_prod.opengov.ibmcloud.com/files/assets/as-ia/ofpsm/IA%20Sup%20Att%20G%20Project%20Scoring%20Methodology_v2%20161108.pdf
Purpose: The Department of Interior (DOI) annually published budget guidance and instruction using “Attachment G” issued by the DOI Budget Office to be used by the Bureau’s to develop Five-Year Deferred Maintenance and Capital Improvement Plans. As stated, the criteria are designed to allow the bureaus to further define the distribution of points based on bureau missions and provided through bureau-specific guidance. This supplement is intended to provide the specific guidance and scoring methodology for Indian Affairs construction projects under the oversight of the Office of Facilities, Property, and Safety Management (OFPSM); specifically, Education Construction, Public Safety & Justice Construction, and Other Construction. The Indian Affairs-Facilities Management System (IA-FMS) is a Maximo based management information system used to enter, track, support, and report on data used to manage the facilities program. In addition to the central Maximo database, IA-FMS utilizes several additional applications (“Apps”) that help to manage people, funding, safety reports and abatement plans, calculate API, and other functions. In the summer of 2015 DFMC transitioned to IA-FMS from its predecessor. Some business processes are still being developed and new ones are being defined regularly as OFPSM continues to mature its asset management program.
Maximo Training Material: DM Work Orders Training Manual April 2021 Version 7.6 Appendix I: Category/Rank Combination Descriptions and Examples – describes categories and ranks.

## Slide 25: MI&R PROGRAM CONTINUED
MILESTONES – For schools that have NOT transitioned from BIA to BIE for Facilities Management
Approximate timeframe for supplemental funding requests (MI&R prioritization)
July: BIA Region/Agency, in consultation with School(s), establishes Priority listing for DFMC.
August: BIA Regions send list to DFMC for review and consultation with BIA Region/Agency and School(s).
September: BIA Region/Agency and School(s) submit any changes to Priority listing to DFMC.
September: DFMC finalizes priorities and awaits appropriation of funding.

## Slide 26: MI&R PROGRAM CONTINUED
MILESTONES – For schools that HAVE transitioned from BIA to BIE for Facilities Management
Approximate timeframe for supplemental funding requests (MI&R prioritization)
July: BIE Branch of Facilities Management, in consultation with School(s), establishes Priority listing for DFMC.
August: BIE Branch of Facilities Management send list to DFMC for review and consultation with BIE Branch of Facilities Management and School(s).
September: BIE Branch of Facilities Management and School(s) submit any changes to Priority listing to DFMC.
September: DFMC finalizes priorities and awaits appropriation of funding.

## Slide 27: FACILITIES IMPROVEMENT & REPAIR (FI&R) PROGRAM
Purpose: Focused on eliminating critical health and safety hazards in Bureau education facilities.
  Maximizes the use of existing facilities.
  Reduces the costs of repair, operation, and maintenance by repairing, rehabilitating or replacing educational facilities in lieu of complete new construction.
  Improve, repair, renovate, and demolish highest priority DM items.
Funding Thresholds:
  DM Work Order items greater than $250,000
  Minor vs. Major Construction FI&R
    Minor = $250,00 and below
    Major = above $250,000

## Slide 28: FI&R PROGRAM CONTINUED
Roles
  Respective BIA or BIE Facility Management oversight staff
    Assemble lists for FI&R Minor for packaging WOs in groups to achieve economies of scale for work performed at a specific site/building.
  DFMC
    Reviews data, calculates allocations for FI&R Minor, and finalizes FI&R Major priority list.
Notes: IA Supplemental Attachment G Project Scoring Methodology 5-Year Capital Improvement Planning, https://www.bia.gov/sites/bia_prod.opengov.ibmcloud.com/files/assets/as-ia/ofpsm/IA%20Sup%20Att%20G%20Project%20Scoring%20Methodology_v2%20161108.pdf
Purpose: The Department of Interior (DOI) annually published budget guidance and instruction using “Attachment G” issued by the DOI Budget Office to be used by the Bureau’s to develop Five-Year Deferred Maintenance and Capital Improvement Plans. As stated, the criteria are designed to allow the bureaus to further define the distribution of points based on bureau missions and provided through bureau-specific guidance. This supplement is intended to provide the specific guidance and scoring methodology for Indian Affairs construction projects under the oversight of the Office of Facilities, Property, and Safety Management (OFPSM); specifically, Education Construction, Public Safety & Justice Construction, and Other Construction. The Indian Affairs-Facilities Management System (IA-FMS) is a Maximo based management information system used to enter, track, support, and report on data used to manage the facilities program. In addition to the central Maximo database, IA-FMS utilizes several additional applications (“Apps”) that help to manage people, funding, safety reports and abatement plans, calculate API, and other functions. In the summer of 2015 DFMC transitioned to IA-FMS from its predecessor. Some business processes are still being developed and new ones are being defined regularly as OFPSM continues to mature its asset management program.

## Slide 29: REPLACEMENT SCHOOL CONSTRUCTION PROGRAM
Purpose: Provides for the replacement of total or major portions of existing facilities in those instances where rehabilitation, upgrade, or repair of the existing facilities is not economically feasible or because of student capacity needs, required functional changes, and costs.
Bureau-published Education Facilities Replacement Construction Priority List
  Sets the list of schools most needing replacement.

## Slide 30: SOLUTIONS TO COMMON MAXIMO ISSUES…
All schools must enter all WOs in Maximo!
  Impacts annual O&M funding, FCI, etc.
  Cannot receive supplemental funding if the WO is not entered into Maximo.
Ensure sufficient staff at the school level are trained in Maximo and actively utilizing the system – keep account active.
Remember to initiate the workflow for DM WO approval
Remember to attach statement of work (SOW), independent government estimate (IGE), and vendor quotes.

## Slide 31: SOLUTIONS TO COMMON MAXIMO ISSUES…CONT.
Be sure to track and monitor funding status of WOs – log into Maximo at least once a week.
Grant Schools – Once WO is funded, contact GMS.
  Coordinate with respective BIA or BIE Facility Management oversight staff for assistance.
Close out completed WOs.
Clean up Maximo – cancel aged WOs that are not longer needed
  Maximo Help Desk can assist.

## Slide 32: SOLUTIONS TO COMMON MAXIMO ISSUES…CONT.
Utilize the Maximo Help Desk.
Phone:
866-706-2011
Email:
IAFMS_HelpDesk@bia.gov
Maximo Login Link:
https://maximo.bia.gov/maximo/webclient/login/login.jsp?welcome=true

## Slide 33
HELPFUL LINKS
Maximo: https://maximo.bia.gov/maximo/webclient/login/login.jsp?welcome=true
Maximo Training Registration Information and Training Materials: https://www.bia.gov/as-ia/ofpsm/dfmc/iafms
DFMC’s website: https://www.bia.gov/as-ia/ofpsm/dfmc
BIE’s website: https://www.bie.edu/landing-page/facilities-safety
Emergency Reimbursement Program and Checklist: https://www.bia.gov/sites/bia.gov/files/assets/as-ia/pdf/idc-040905.pdf; https://www.bia.gov/sites/bia.gov/files/assets/as-ia/pdf/idc-040904.pdf
MI&R Program: https://www.bia.gov/sites/bia.gov/files/assets/as-ia/pdf/idc-040907.pdf
Link to facilities transition document (cannot find on website)

## Slide 34: CONNECT WITH US